GEL (IBM version 1.2)

Jean-Michel Lacroix

INTRODUCTION

GEL an IBM-compatible program to calculate the size of DNA  fragment in an

agarose gel. All the files created by GEL 1.1 beta or GEL 1.2 beta are 100%

compatible with the new version 1.2.

In the program GEL, you can enter the results of a DNA gel, including

the standards.  20 wells with a maximum of 20 bands per well can be

entered in a gel file (file with an extension .GEL).  At least one

standard must be included in the gel, and a maximum of 3 different

standards can be put in one gel: GEL will use the closest standard to

calculate the size of the DNA fragments.

The techniques used to calculate the size of the fragments can be found

in the following two references:

- Measurement of DNA Length by Gel Electrophoresis.  E.M. Southern.

1979. Anal. Biochem. 100:319-323.

- Improved Estimation of DNA Fragment Lengths from Agarose Gels.

H.E. Schaffer and R.R. Sederoff. 1981. Anal. Biochem. 115:113-122.

CONTACT ADDRESS

This the version 1.2 of the software GEL.  This is the second released

version.  The previous was 1.1 beta.  If you find any bugs, please

report them to the author:

Jean-Michel Lacroix, Ph.D.      Tel: (904)-392-4378

Department of Oral Biology      FAX: (904)-392-3070

P.O. Box 100424, JHMHSC         Internet: LACROIX@PDRC.UFL.EDU

University of Florida           CompuServe: 73760,104

Gainesville, FL 32610-0424      Bitnet: JML@UFBIOT

This software is in the public domain: you can copy it and distribute it

freely, but you may not receive any money for this, with the exception

or the money spend to make the copy and the cost of shipping the copy.

But, if you like this software, please send me a small token ($10 if

enough).  Programming is not part of my job: I do that on my spare time.

It costs money to build this kind of software (computer, books,

compiler, debugger, using CompuServe to find programming techniques or

programming utilities, etc...).  This money helps me to continue to

build this kind of software.  I am NOT making money with it, believe me!

If I add all the money invested over the years to build utility

softwares, and add the money received for these softwares, I am loosing

a lot of money.

I offer support for every registered user.  If you register, please

include the version number (1.2 in this case): if there is a more recent

version, it will be send to you free.  Please, tell me also where you

found your copy of Gel (friend, CompuServe, Internet, BBS, etc...).

There is an instruction manual in the ZIP file.  Use the last page of

this instruction manual to register your copy.  If you cannot print the

manual for any reason, contact me.

Future versions of this software will fix the bugs that will be

reported. If you have any suggestion to improve this software, please

let me know!

AVAILABILITY

GEL is available by anonymous FTP in different places in the Internet.

I will always put the most recent version in the following places:

fly.bio.indiana.edu in the directory /molbio/ibmpc

sunsite.unc.edu in the directory /pub/academic/biology/molbio/ibmpc

GEL will also be available in CompuServe, the exact area is not known yet.

SYSTEM SUPPORTED

You need an IBM-compatible computer with MS-DOS (or PC-DOS) 3.0 or

higher to run this program.  A printout of the results can be send to a

printer or a modem connected to LPT1, LPT2, LPT3, COM1 or COM2. Also the

output can be send to a disk as a text file.  GEL can also generate text

files with the output with the different data separated with TABs (ASCII

9): this is usefull to import the data in spreadsheets or database

programs.

SOURCE CODE

The source code is not available.  GEL was written in Turbo Pascal 6.0

and using Turbo Vision.

PROGRAM FILES in the archive:

GEL-JML.DOC  This documentation file. (7.5 Kb)

GEL-JML.ZIP  Archived file containing the program, the documentation

file (GEL-JML.DOC), an help file, two example files,

and an instruction manual (193 Kb).

PROGRAM FILES after extraction (Approx. 343 Kb total).

GEL-JML.DOC   This documentation file. (7.5 Kb)

GEL.EXE       Executable file. (170 Kb)

GELHELP.HLP   Help file for the online context help. (49 Kb)

SCHAFFER.GEL  A demonstration gel: the data is from "Schaffer and

Sederoff. 1981. Anal. Biochem. 115:113-122". (5.7 Kb)

EXAMPLE.GEL   A "real" gel: this is an actual DNA gel made while

building a restriction map. (5.7 Kb)

READ.ME       A Read.Me file containing different information about GEL

1.2 (5.8 Kb).

GE-PIF.DVP    A file used by DESQview to run GEL (0.4 Kb).

PROPRINT.ZIP  Documentation for GEL 1.2 (25 Kb).  ZIP file containing

the file GELDOC.IBM (178 Kb).  To be send to an IBM

Proprinter or compatible printer.

EPSONDOC.ZIP  Documentation for GEl 1.2 (74 Kb).  ZIP file containing

the file GELDOC.EPS (2,173 Kb).  To be send to an Epson FX80

or compatible printer.

PRINT.TXT     A text file explaining how to print the instruction manual of

GEL 1.2 (0.5 Kb).

DOCUMENTION

There is an instruction manual (approx. 22 pages).  There is an extensive

help  file when you run the software: just press F1 any time when in GEL.

STARTING THE PROGRAM

It is possible that the file is a UUE file.  If this is the case, you

should first decode it:

>UUDECODE GEL-JML.UUE

That will create the file GEL-JML.ZIP

You have do de-archive the program by using PKUNZIP or a compatible program:

>PKUNZIP -d GEL-JML.ZIP

Do not forget to put the option -d.  Directories will be created:

\GEL

\GEL\DOC

All the file will be put in the directory \GEL except for the following files:

PROPRINT.ZIP; EPSONDOC.ZIP and GELDOC.TXT: they will be put in the directory

\GEL\DOC

When all the files are extracted, go the the appropriate directory (GEL).

To start the program, type GEL at the DOS prompt:

>GEL

If you have an EGA or VGA monitor and do not want GEL to be in 42 or 50

lines mode, start the program by typing at the dos prompt:

>GEL /L=25

The program can be renamed (but it must have EXE for extension) and the

help file (GELHELP.HLP) can also be renamed, as long as it is

GELHELP.HLP or the same name as the program but with HLP for extension

(if, for example, you rename GEL.EXE to MYGEL.EXE, the help file MUST

have GELHELP.HELP or MYGEL.HLP for name).

MACINTOSH VERSION

There is a Macintosh version of this software available.  You can write

to the address above (in CONTACT ADDRESS) to have more informations.

SAMPLE OUPUT

Results of the gel C:\920231.GEL Sunday 1/31/1993  Page: 1

This is gel 1 of 2 February 1992

1:Lambda HindIII/Phi-X-174 HaeIII      2:EcoRI-PvuII

Distance    Size     Calc.     Error    Distance    Size

+-------------------+-------------------+-------------------+

14.5      23130     23032      0.4%     29.7       2335

17.5       9416      9653     -2.5%     36.5       1448

20.0       6557      6306      3.8%     45.5        823

.....                                   49.0        663

59.8        603       630     -4.5%

+-------------------+-------------------+-------------------+

SD(Dev)= 159.69     Totals=    5516     Totals=    5497

COMPUTER VIRUSES

This program is protected against computer viruses.  If the virus

protection included in this software interfere with a virus protection

software you use, please let me know: I will give you a version of Gel

that is not virus protected.

Jean-Michel Lacroix, Ph.D., 2 February 1993.